Luciani Pump Company, Inc.

October 17, 2007
Bob Gallagher

Re:1550 Felta Rd.


On October 13, 2007 we pulled the existing pump out of the old well and set it in the new well. A test was run for 12 hours into the concrete tank.


The well production reported is what the existing pump will produce under normal operating conditions. If a larger pump were installed, the well would supply more GPM’s than this test showed.


The following are the particulars regarding the well and pump installed.



Well depth  


240’



Pump installed


1 HP 10P submersible



Casing 


5” PVC



Static water level

155’ 0”



Pumping level at 7.8 GPM
155’ 2”


Drawdown


0’ 2”



Length of test


12 hours



Date of installation

6/07


Pump setting


on 215’ 1” SCH 80 PVC


If you have any questions please feel free to give me a call.

Thank you,

Robert L. Plum
30 Mill Street ▪ Healdsburg, CA  95448
((707) 433-4424  ((707) 433-4425
LIC. #660190

